Date/Time/Place: Monday February 13, 2006 7:00 – 8:17 p.m. Town Offices Secretary: Dawn Calley Attending Committee Members: Chair Jeff Jenkins, Carmine Cioffi, Wayne Elliott, Don Foudriat, Andy Sanborn, Russ Spearman, Patsy Wells Absent Committee Members: Peter Thompson, Bill Tobin, Jim Van Valkenburgh Agenda Item #1 – OPEN MEETING 1. Review/Approve Draft Minutes – Mr. Sanborn motioned to approve December 12, 2005minutes as written. Mr. Spearman seconded the motion. All approved. 2. Review Mail/Correspondence – 1. Mr. Jim Wells resigned from the Building Committee. 2. The ARC report regarding well monitoring is in the file. 3. A copy of the operation approval for septic from Virgin Construction were received. 4. A copy of the completed driveway permit, with state approving the three driveways is in the file. Agenda Item #2 – SUB-COMMITTEE & LIAISON REPORTS 1. Community Septic & Well – Bio-clear unit hit ledge, is higher than expected and will need some type of cover. Mr. Sanborn completed the wiring. The septic is uncovered until pipe certification has been received, after which it will be all set. Virgin Construction will plant in the spring. Mr. Sanborn stated the electric panel was full and should be updated or to change to underground services. Caps are on the piping, the three meters need installation, and the plumbing will go out to bid. 2. Town Garage – $15,000 set aside to correct safety issues and minor repairs. A decision was made to bond the full garage. Hopefully bids will come in lower, and the town can lower the cost by completing some of the work on its own, but still get a quality project. 3. Transfer Station – Mr. Elliott is the new liaison. Selectman Wells stated she wanted to put the work out to bid, with other projects, having a multi bid. Selectman Wells will get the design plans to Mr. Elliott. 4. Recreation Building – On hold until spring 2006 5. Library – There will be an open house next month. The first floor looks good, plumbing, heating, and carpet are installed downstairs. The AC is almost ready, and painting, drainage and landscaping will take place in the spring. A catch basin will need to be installed between the old and new sections of the building. Positive remarks have been received so far regarding the work. The BOS is applying for grants for painting 6. ADA Compliance – No new action, work is continuing. Town office and Safety handicap parking need to be reviewed prior to paving. The Town Hall also should be reviewed. Bids are out to complete three bathrooms and Department of Justice approval is needed. 7. Town Office – The bath needs updating. $50,000 has been set aside for paving the Town Office, Safety, and Town Hall buildings. The traffic islands paving should be complete during 2006. 8. Town Safety Building – 9. Town Hall – See Town Offices. Three contractors did not want to work on the interior doors. 10. Charrette Material – Hold until March 2006. Looking for grant to help with building planning in historic areas. 11. Fire Dept. Sub-Station – Contact was made with the Chief to discuss the parameters of the building, and to plot service history. Mr. Foudriat asked for a written documentation for the task. Agenda Item #3 - NEW BUSINESS 1. Master Bonding/Police Feasibility - Logical to move police to Town Offices, with Safety holding the Fire Department. A refit of Town Office for the police, refit safety, and a new town offices building and the garage could be bonded. A spokesperson was needed for the Town Offices, other than the TA due to duties, but the Building Committee could do it. The idea would be to design the offices from the inside out to find out what will suit the needs of the employees and town. The next step will have to come from the BOS. 2. Fire Doors/Fire Aisles – There needs to be a decision to ignore the requirement and accept the violation or correct the issues. 3. March 2006 Meeting – The Chair determined to skip the March meeting because it is such a busy month. ACTION ITEMS PERSON ASSIGNED DUE DATE Provide a copy of the Transfer Stations Plans to Mr. Elliott. Selectman Wells ASAP Purchase a current copy of the Construction Estimator, if the book cost under $100.00. Mr. Spearman Adjourn: Mr. Elliott motioned to adjourn. Mr. Foudriat seconded the motion. All approved. Next Meeting: Regular Meeting on Monday, April 10, 2006 at 7:00 p.m. in the Town Offices.