Approved as Amended

TOWN OF SANBORNTON BUILDING COMMITTEE MINUTES

Date/Time/Place:  April 9, 2007 at 7:00 p.m., Sanbornton Town Offices

Secretary: April Rollins

Attending Building Committee Members: Chair Jeff Jenkins, Patsy Wells, Jim VanValkenburgh, Bill Tobin and Wayne Elliott

Absent Building Committee Members: Carmine Cioffi and Don Foudriat

Liaison Guest: Tim Grant

Agenda Item #1 – OPEN MEETING

1.	Review/Approve Draft Minutes – The Building Committee reviewed the draft minutes of February 12, 2007 for approval.  Mrs. Wells motioned to accept the Building Committee’s minutes of February 12, 2007 without changes.  Mr. Elliott seconded the motion and the motion passed unanimously.

2.	Review Mail/Correspondence – Chair Jenkins informed the Building Committee member that mail/correspondence was not received.

Agenda Item #2 – Sub-Committee & Liaison Reports

1.	Town Garage - Mr. VanValkenburgh provided the Building Committee with a narrative description of the future salt shed design specifications.  Mr. VanValkenburgh stated he has spoken with DPW Director Jon Hubbard which stated he would prefer a fifty foot wide by seventy foot long salt shed structure to meet all the town’s future needs.  Mr. VanValkenburgh noted that the Salt Shed’s “Request for Proposal” (RFP) was advertised for three days in various papers and bids have been received.  The Building Committee reviewed the construction bids.  Mr. VanValkenburgh suggested “mafia” blocks for use as a retaining wall, which could be reinforced by corbelling the blocks and placement of rebar.  Mr. Elliott stated the salt shed structure would need to be placed against the embankment due to space needs of the DPW.  Chair Jenkins stated there might be an option for the structure to have side access.  Mr. VanValkenburgh stated the site and blocks will need to be need to set in preparation for delivery of the salt shed structure.  The Building Committee looked at the building specifications of the structure and discussed snow loads, the building material and an arch structure vs. a sidewall structure.  Mr. VanValkenburgh noted that there is a fifteen to twenty year guarantee on the material the structure will be made of and provided the Building Committee with sample swatches.   Chair Jenkins stated the site work and the drainage may need to be completed this year and the salt shed structure may need to be held off until next year due to funding.  Chairman Wells noted eighty thousand ($80,000) dollars has been appropriated so far.  Mr. Elliot will contact Greg Lussier, Barn Builders and Mr. VanValkenburgh will contact Hawkeye Steel Structures, to discuss the project bids the Building Committee has received further.  Mr. VanValkenburgh will also contact DPW Director Hubbard to discuss a tentative building schedule.  Mr. Elliot informed the Building Committee that the second means of egress at the DPW is being scheduled for replacement.

2.	Transfer Station – Bathroom complete.

3.	Recreation Building – On hold for future discussion.

4.	ADA Compliance – On hold for future discussion.

5.	Town Office and Life Safety Building – DPW Director Hubbard is drafting the “RFP” for the parking lot and under drainage project.  Bathroom renovations are on hold.  The seasonal traffic island will remain on hold until the parking lot project is completed.

6.	Town Hall - Bathroom design – Space for Office/Small meeting room, the BOS will draft a “RFP”.  Mrs. Wells stated furnace costs for the Town Hall would be covered by 2006 encumbered funds.

7.	Facilities Planning – Chair Jenkins provided the Building Committee with a letter from Police Chief Robinson regarding space needs for the Police Department.

Agenda Item #3 – New Business

1.	Proposal from Joint Loss Management Committee – Mrs. Wells informed the Building Committee that the BOS would like their recommendation regarding the proposal to install a locked door in the hallway of the Town Office for security reasons.  Chair Jenkins stated each Board/Committee Chair would need a key to have access to files or make copies for meetings.  Mrs. Wells will take the issue back to the BOS for further discussion.

ACTION ITEMS					PERSON ASSIGNED

Salt-shed Sub-Committee Information		Jim VanValkenburgh & Wayne Elliott

Facilities Planning Sub-Committee			Entire Building Committee

RFP for parking lot & paving				DPW Director Jon Hubbard

RFP for Town Office & Town Hall bathrooms	Board of Selectmen

Adjournment – Mrs. Wells motioned to adjourn at 8:27 p.m. and Mr. Tobin seconded the motion and the motion passed unanimously.

NEXT MEETING – May 14, 2007 @ 7:00 p.m. at the Sanbornton Town Offices.