ENERGY COMMITTEE OF SANBORNTON

Meeting minutes

August 13, 2008

Attending:  Karen Ober, Jenn Schongalla, Jeff Burns, Andrew Sanborn

Minutes from meeting of July 30 accepted motion by Jeff second by Jenn

Info from Jeff regarding hydrogen car tour, started in Maine on Aug. 10.

Meeting with budget committee tues. Aug. 19th, 6:30 at the town office to report on highway garage alternate heating source, and PSNH energy audit and recommendations for upgrades and energy savings.

Alexandria, Madison, Washington and Northfield have received grant money to install used oil burners by the NH DES, we should investigate grant availability.. We can only depend on 600- 800 gallons from the town transfer station and remaining will need to come from waste oil delivery company..  Town will need approximately 2,000 – 3,000 to heat building as is.  Jeff, will meet with Howland Insulation at the highway garage to research insulation possibilities from ceiling to walls.  With a R 30 – 38 in both it would save 7 gallons per day $200.00 per month.  We believe that the building should be accessed as  to it’s structure soundness and life expectancy, since heat and insulation are some of the least of the concerns with the building.

Andy will investigate used and barely used heating units.

We should investigate the possibility of Grant $ for Library resources.

Next Meeting

Wed. Aug. 27, 2008

7 PM at Sanbornton Public Library

Tell Me Something I don’t know:

If you upgrade your existing computer instead of buying new, you save 500 lb of fossil fuel.