JLMC Minutes 09/30/2009

Approved

The JLMC met in regular session on September 30,2009.  The meeting was called to order at 12:03 PM.

Members present were Mark Barton, Police Chief; John Thayer, DPW Director; Melanie Van Tassel, Overseer of the Public Welfare; Bob Veloski, Town Administrator; Bob Ward, Town Planner/Zoning Enforcement Officer; Bruce Johnson, DPW Driver; June Plummer, Transfer Station Attendant; Cab Vinton, Library Director; Robb Jutton, Assessing Assistant.

- Review of minutes

  - Minutes for 06/16/2009 JLMC meeting were reviewed and approved without amendments, motion by Jutton, second by Thayer, all in favor.

- Old Business

  - Review of Transfer Station/Rec/Welfare facilities inspection from 6/16:

    - Fire Extinguishers @ Transfer Station: Not fixed, DPW to secure hangars for proper height

    - Steps/Railings/Stairs @ Rec/Welfare Building: Bids for work to be opened at 9/30/09 Selectmen’s meeting, will be remedied immediately

    - Volleyball nets in walkway of Rec building: have been moved

- New Business

  - Appoint Officers:

    - Tabled until next meeting

  - Department of Labor Bi-Annual Reporting:

    - Discussion of progress of JLMC to date; The committee members decided that each department head should fill out their own report and submit to JLMC Chair for submission to DoL.  Selectmen will be asked to review the final report before it is submitted to the DoL.

  - Primex Material:

    - Primex has provided the Town with an overview of the safety and risk management courses that they offer.  The list was distributed to the present members for review.  Department heads are directed to contact Primex for more information regarding these classes if they or their department employees wish to attend.

  - DPW Building Safety Audit:

    - The JLMC conducted a safety inspection of the DPW grounds and buildings. The Following items were noted:

      - The breaker panel behind the stairs is obstructed

      - The diesel pump handle is blocking the rear entrance

      - The exit doors need illuminated, hardwired, battery backed-up exit lamps

      - The thermal coupler on the furnace needs repair

      - Recommend a copy of the MSDS be placed in the garage workspace

      - Any exposed light bulbs need to be properly caged

      - The rear exit from the bathroom has a sub-standard door opening, and the stairs from that opening are too short and need a railing

      - There is an exposed electrical interface on the west wall of the building that needs covering

      - The garage floor needs to be properly drained following a snow event

      - The slope from the property line is very dangerous, recommend the property be fenced around the slope at a minimum, better would be to chain link fence the entire property at 8 feet

- Next Meeting

  - The next meeting of the JLMC was scheduled for Tuesday, December 8, 2009.

- Adjournment

  - Motion to adjourn by Jutton second by Van Tassel, meeting adjourned at 1:20 PM

Respectfully submitted,

Robb Jutton

JLMC Chair