Town of Sanbornton, NH

Library Building Committee Corrected Minutes

January 26, 2005

On January 25, 2005at 7:10 pm, Chairman Russ Spearman convened the meeting of the Library Building Committee in the Sanbornton Public Library.   Attending were committee members Dick LeClerc and Deb Wyman.  Builder Ron Lefebvre and Architects Ken Cooms and Roger Dignard also were present.

Ken and Roger presented the first draft of the architectural plans, based on Peter Olney’s work.  The following major points were made:

-	The largest new portion of the building was moved southward from the original design, in order to allow for enough headroom on the staircase.

-	The shaft for the elevator was placed in the center of that room, in order to ensure enough headroom.

-	The windows were re-sized and aligned (size, style, placement) with windows in the old building.

-	The small addition’s (middle of the building) roof was raised to allow headroom on the second floor and so that the floors between the old and new building would line up.  (Could put in reading nooks!)

-	The interior plans were adjusted to account for moving the elevator shaft.

-	The roofline on the 2nd floor in the new, large building will be a 5’ knee wall, instead 4’.  Shelves and study carrels can be placed along the walls, which will now be comfortable for tall people.

-	Insulation, such as double sheetrock, needs to surround the bathrooms.

The following points are still outstanding and will be worked into the next draft:

-	The placement of the new fire escape.  (Trying to get it outside, on the north side, obscuring as few windows as possible.)

-	Changing the roofline of the front door, to make it more prominent and less ‘lost’.

-	Transom windows should be placed above the 2 windows on either side of the door.

-	A transom window might be added to the window on the staircase to balance that window with the 2 windows on the east end of the south side (door-side) of the building.

The following points were discussed and were not decided:

-	The ceiling height of the largest new portion of the building might look better if it were 10’ instead of 8’.

-	The space in that same room that is “open to below”, might not be able to be open, depending on the fire escape.  Flooring might have to exist there instead.

-	If that “open to below” space ‘survives’, we might choose to put interior, permanently sealed windows in those walls to allow for better passage of natural light.

Russ has provided Ron with a copy of Lepene’s site plan for the purpose of making copies to aid in the placement of the fire escape.  Russ reported that the fire chief agreed that only one fire escape needed to be built from the second floor and the current escape could be removed.

Russ is going to ensure that the land and lot lines will allow the southward re-positioning of the addition.  Also, Russ is going to locate the written requirements about the LULA, so that the committee, architects, and builders, can plan accordingly.

The Building Committee acknowledges that there will be a need to again meet with the town Historic District Commission because the windows and fire escape are causing exterior changes.  The architects and Building Committee all believe that the new design will be more historically accurate and should actually be more pleasing to the Historic District Commission.

No further business was conducted and no future meeting was set.  Russ adjourned the meeting at 8:40 pm.

Respectfully submitted,

Debra H. Wyman