Town of Sanbornton, NH

Library Building Committee Corrected Minutes

February 25, 2005

On February 24, 2005at 7:04 pm, Chairman Russ Spearman convened the meeting of the Library Building Committee in the Sanbornton Public Library.   Attending were committee members Dick LeClerc, Wayne Elliot, Edna Hansen, Jim VanValkenburgh, Linda VanValkenburgh, Milly Shaw, Carolyn Sutcliffe, Priscilla Bodwell, and Deb Wyman.  Architects Ken Cooms and Roger Dignard, Library Director Chris Finer, and Selectwoman Patsy Wells were also present.

Ken and Roger presented the second draft of the architectural plans.  The following major points were made:

-      The interior plans were adjusted so that the entire circulation desk can remain intact.

-	The staff bathroom, according to Priscilla, is necessary.  It does not have to be ADA compliant, as there already is a bathroom on the first floor that meets those requirements.

-	On the second floor, there will be no overlook to the first floor; the second floor will meet the corner of the building, allowing for more second floor square footage.

-	The roof at the front door has been redesigned per the committee’s request, but may not be approved by the Historic District Commission.

-	The entire plan now reflects the exterior grading.  Therefore windows have changed; the fire escape has changed; the east windows are smaller.

-	The fire chief has seen and approved the design.

The following changes to the plans were requested:

-	A sink and countertop can be placed outside of the staff bathroom.

-	The second floor overlook will be ‘filled in’ with flooring.

-	The exterior pairs of windows will be separated so that they match the current buildings’ pairs.

-	A single window, whose top edge will be aligned with the bottom edge of the transom window, will replace the vertical pair of windows on the staircase.

-	A vestibule, 8’ from the exterior door, will be built to create an airlock.  The vestibule will have glass sides and a grate system for the floor will be considered.

-	On the north side, a single window will replace the pair.

-	A single window will be added to the north side ‘jog’, perpendicular to the one discussed in the previous notation.

-	The oil tank may be removed from the drawing, as the tank will be moved to the basement.

The following point was discussed and was not decided:

-	The roof at the front door has been redesigned per the committee’s request, but may not be approved by the Historic District Commission.

The following point was barely mentioned and may need more discussion:

-	The LULA parameters may have to be chosen soon to ensure that the design can accompany the least expensive model that will fit the library’s needs and the ADA requirements.

Patsy gave a status on the town building committee’s progress as it pertains to the library expansion project.  She is still hopeful that the April 1, 2005 start date for the library work will be met.

Russ is going to work with the architects to obtain the most up-to-date plans possible for display at Town Meeting.  Additionally, he will coordinate a meeting with the Historic District Commission  to obtain their approval for the alterations to the original plans.

No future meeting was set.  Russ adjourned the meeting at 8:42 pm.

Respectfully submitted,

Debra H. Wyman