Minutes of Sanbornton Solid Waste Committee

September 11, 2007

Present:~ Earl Leighton, Wayne Elliot, Don Foudriat, Mary O’Neil, Joel Anderson, Rich Tyler~

Committee voted Joel to continue as Chair for the Committee

Minutes from Feb 10 approved~

Mission Statement approved, Mary will send to Bruce Kneur.

"The mission of the appointed Sanbornton Solid Waste Committee is to convey to and advise the Town Selectmen on all aspects and policy matters regarding solid waste disposal in a regulatory compliant, safe, environmentally sensitive and fiscally responsible manner."~

Mary to find out who our Selectmen Rep is currently.~

C&D Data: Mary presented spreadsheet detailing 2006 and 2007 YTD demolition income and cost comparisons. Income is currently exceeding the tonnage and hauling fees.~ The committee is pleased with this trend.~ Mary also stated overall tonnage was down significantly 2007 over 2006.~

Recent facility inspection: Discussion of comments and findings by NHDES. Other than some posting requirements for permits and signage (which has been corrected) the containment of batteries was considered insufficient, an additional layer of protection was recommended.~ It was also noted the Transfer Station does not have a closure nor operations plan posted.~ It was discussed that the committee was unaware of the requirement for a closure plan or an operations plan.~ Mary will research requirements.~ Also it was noted that complete operating records were not evident. Mary to respond to NHDES with corrective actions and responses to 5 items noted.

A discussion on the proper posting and distribution of Minutes and Meetings~

Meetings were scheduled for Oct 9,~ Nov 13 and Dec. 11.~

Shooting Range: The Selectmen have requested a plan to close the shooting range.~ The range is on top of the old landfill.~ The old landfill was closed in 1977 and is not required to be re-closed if the range is cleaned up.~ Mary is contacting engineers for an analysis of cleaning up the shooting range.~

Discussion regarding picking from the scrap metal pile. Also discussion of non-residents taking free items.~ An email will be sent to the selectmen asking on their position regarding non-residents or taxpayers coming into the transfer station to take free items.~ The committee will recommend a new sign stating Dump Picking Prohibited.~

Discussion on member terms.

Motion to adjourn. ~

Respectfully Submitted; Rich Tyler